## Slide 1: FRMAC Field Monitoring Specialist Training – Introduction
MS-200
Module 4
FRMAC Monitoring Division Training
January 2021

## Slide 2: MS-200 Module 4 Outline
FRMAC Paper forms
Manuals and References

## Slide 3: FRMAC Paper Forms

## Slide 4: Forms
FRMAC will use standard forms for documentation
FRMAC Monitoring and Sampling Manual Volumes I and II both contain forms in appendices.
Volume II contains all the common FRMAC field team forms
Forms can also be found on the FRMAC website:
https://www.nnss.gov/pages/programs/FRMAC/FRMAC_DocumentsManuals.html
Notes: FRMAC Monitoring Division will use standard forms as documented in the FRMAC manuals. The FRMAC Monitoring and Sampling Manual Volumes I and II both contain forms and operator aids which may be used freely by any agency. Some common monitoring forms and operator aids are available on the FRMAC website as standalone documents.

## Slide 5: Change in Plans
Communicate with the field teams at regular intervals
Notes: Sometimes plans do not work out in the field. For this reason, it is important that field teams be able to communicate back to the supervisor. The following items would necessitate a discussion:
Reaching or exceeding Turn-around or hold points
Identifying a safe route away from turn back level
Changing conditions from the release or weather
Reassignment of mission
Changing team assignments in the field is difficult if both sides of the conversation are not using the same maps and instructions. Field Teams utilizing FRMAC tablets will be able to receive updated/revised ICS-204FRMAC forms and available to chat with the Field Team Supervisor or Monitoring Manager.

## Slide 6: Recording Field Data
Notes: Collected data is the most reviewed and scrutinized information during a radiological emergency. For this reason, it is important for the Monitoring Division to accurately collect and record data. We will briefly discuss some of the commonly used methods to capture data, in particular:
Field Monitoring Log
RadResponder
eFRMAC

## Slide 7: What Makes a Good Record
Collector’s Name
Date & Time
Location (lat/long)
Record measurement data in raw units (what the meter reads)
Contamination levels on a person or equipment
Record other important info such as ground surface, surrounding terrain, etc.
Notes: Many agencies already have a data collection form or use an electronic data entry software. A good record is one that is complete. Enough information should be provided where the data is clear and can be traced back to a person collecting the data. Recording the raw data in the field reduces the chance of errors. Conversion can be better done automatically via a software program or at a desk back at the Operations Center. Assessment may be asked to reflect data in various ways on map, if a conversion is done in the field there is no way to know that a mistake occurred.

## Slide 8: Daily Instrument QC Check
Saving the world
Alpha
Your name here
Field Team Supervisor
2009 AP-100 Th-232 90002 30 nCi 4.2 kcpm optional optional
2010 BGP-100 Cs-137 55002 8 uCi 1.6 mR/hr optional optional
06DEC2020 0800
3.88 – 5.26 kcpm
1.38 – 1.81 mR/hr
06DEC2020 0800
Notes: Before field teams can deploy into the field, each instrument must be checked to see if it is operational. FRMAC deploys with check sources used for daily quality control (QC) checks of each instrument. This form is used to document that QC checks were performed and that the instruments performed as expected. If instruments do not pass the QC check, the instrument is tagged out of service for maintenance/calibration.

## Slide 9: Field Monitoring Log
FRMAC uses the log if electronic collection methods are not available.
Notes: This form is used by field teams to record data taken in the field if the tablet running DFM (Digital Field Monitor) software or the Rad Responder app is unavailable.
One feature of the log is calling in the data by the numbers, you will notice that the columns are all numbered, that way we can call in the reading using the number column to identify what we are relaying.

## Slide 10: Sample Control Form and Chain of Custody
Signed Custody Transfer
Team identification information
Location and collection time information as recorded with Radiological reading
Unique Sample Control Number – for each sample
Detailed Sample Matrix information sample type, volume, etc. Use only one form per sample media.
Example
Example
Notes: The Sample Control Form is a hardcopy used by field teams. The Sample Control Form could also contain the chain of custody (or the chain of custody could be a separate form). One Sample Control Form is used for each sample collected. This form is completed in the field, transferred with the sample at sample receipt, then signed over to the Sample Control personnel.
Minimum Information Required
  SCF Barcode #
  Collection Team ID
  Sample Type
  Collection Date & Time
The hard copy of the form should be completed for each sample even if the team collects sample information electronically. The paperwork will be transferred with the sample up until the sample is analyzed at the laboratory.

## Slide 11: Manuals and References

## Slide 12: FRMAC Manuals
FRMAC divisions have manuals where processes and operational guidance is documented.
FRMAC divisions also have commonly used forms for the response (including Monitoring and Sampling forms and job aids).
Google: “FRMAC Manuals”
Additional information on FRMAC operations, methods, and procedures can also be found in the FRMAC manuals:
https://www.nnss.gov/pages/programs/FRMAC/FRMAC_DocumentsManuals.html
Notes: Information contained in FRMAC manuals (cited below) may be valuable for reference purposes during an emergency. These manuals are available to the public on the Nevada National Security Site website:
https://www.nnss.gov/pages/programs/FRMAC/FRMAC_DocumentsManuals.html
FRMAC Operations Manual. This provides an overview of the operations and functions of the FRMAC during the emergency phase so that each participant can understand the individual tasks and their interface with the overall mission. The internal working operations are described from initial notification and the collection of data to the final distribution of data to the states(s) and the Coordinating Agency.
FRMAC Assessment Manual, Volumes I and II. The FRMAC Assessment Manual Volume I is the tool used to organize and guide activities of the FRMAC Assessment Division. This manual integrates many health physics tools and techniques used to make these assessments. The FRMAC Assessment Manual Volume II is a collection of pre-assessed scenarios. These pre-assessed scenarios contain default assessment parameters and techniques that could be applied to produce results that are consistent with the methodologies outlined in the FRMAC Assessment Manual Volume I.
FRMAC Monitoring and Sampling Manual, Volumes I and II. The purpose of Volume I is to detail the FRMAC Monitoring Division Operations during an emergency response. The manual describes the role and organization of the FRMAC Monitoring Division, deployment activities, and workflow development and implementation which includes default field team instructions. Volume II provides standard operating procedures (SOPs) for field radiation monitoring and sample collection activities that are performed by the FRMAC Monitoring and Sampling Division during a FRMAC response to a radiological emergency.
FRMAC Health and Safety Manual. The manual provides guidance for radiation safety, industrial hygiene, occupational safety, and, emergency medical care. The manual includes information on radiation exposure guidelines, personnel dosimetry, contamination control (including limits on contamination for release of equipment to uncontrolled areas), radioactive and hazardous waste packaging, and personal protective equipment.
FRMAC Laboratory Analysis. The FRMAC Laboratory Analysis Manual provides general guidance and some specific diagrams and forms to establish a common operating environment for FRMAC, and other, laboratory analysis personnel with regards to sample control and sample result data quality assurance. This manual is intended to provide enough guidance for stand-alone use without limiting FRMAC’s ability to integrate the work with other agencies and jurisdictions and laboratories.
The purpose of the FRMAC Fly Away Lab Manual is to provide guidance to Fly Away Laboratory (FAL) personnel responsible for the analysis of time sensitive radiological samples. The manual provides guidance on the instruments used, calibrations, and analysis.
The FRMAC Gamma Spectroscopist Knowledge Guide was developed as a training and reference manual for FRMAC gamma spectroscopists. The knowledge guide is geared towards applied HPGe gamma spectroscopy with an emphasis on examples. As such, the knowledge guide generally provides a limited but sufficient discussion of physics concepts.

## Slide 13: Monitoring and Sampling Manual Volume II
Forms
Daily Instrument QC Checks
Field Monitoring Log
ICS 204FRMAC
Local Area Monitoring (LAM) Dosimeter
Sample Control Form
Team, Instrument, & Equipment Information Log
Chain of Custody Form
Notes: Volume II contains the listed forms.

## Slide 14: Monitoring and Sampling Manual Volume II
Operator Aids
FRMAC Air Sample Pump Staplex High Vol
FRMAC Air Sample Pump F&J Low Volume
FRMAC Ground Deposition Sample
FRMAC Standard Soil Sample
FRMAC Early Phase Water Sample
FRMAC Early Phase Water Sample (Tap)
FRMAC Early Phase Vegetation Sample
FRMAC In situ Gamma Spectroscopy Measurements
FRMAC SpecFIDLER
FRMAC BZA
FRMAC Generators
Notes: Volume II contains the listed Operator Aids.

## Slide 15: Questions?