**Choose a Location**

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| Suggested Equipment  Sample Container (1 Gallon / 4 Liter Cubetainer)  Funnel  Bucket  Rope  Bags, 15 x 24  Security Seal  Sample Control & Chain of Custody form  Generator (if required)  Extension Cord (if required)  Gloves  Distilled or deionized water | HPIM0793 | | HPIM0790 | |
| Gather all the required equipment before you depart for the field. This is a list of suggested equipment. Add or remove equipment as needed. | Choose a sampling location. Perform an exposure rate survey (waist high) and a contamination survey (ground). Record the measurements. Take a picture of the sample location and surrounding area. Submit with the other sample collection information. | | At the sample location, arrange all needed supplies on a clean surface. | |
| Choose a location to collect the sample. Ensure enough water is available to fill a one-liter sample container. | HPIM0796 | | HPIM0808 | |
| Choose an area that is open, not sheltered by trees or high brush. Little or no current. | Place a SCF barcode on the sample container. | | Rinse out the sample container and cap with deionized or distilled water. | |
| HPIM0803 | | HPIM0806 | | HPIM0819 |
| If needed attach the rope to the bucket.  Collect the surface water. | | Using the funnel, fill the 1 gallon (4 liter) sample container. Stop 1 inch from the top. | | If needed, rinse the outside of the container with deionized or distilled water. Dry the outside of the sample container. |
| HPIM0820 | | HPIM0825 | | HPIM0788 |
| To prevent leaks, wrap tape around the lid and container (not shown in the picture). Place a Security Seal over the opening. | | If needed, use an indelible marker to write the SCF Number on the sample container.  Place into a clean plastic bag. | | Complete the Sample Control and Chain of Custody Form and input into the tablet.  If background permits, survey the sample bag and record results on the SCF. |