Job Aid – RAMSV4.1 Sample Result Uploading

Uploading a RAMS EDD

- Hover over  and click on

- If the EDD is to be created, download the template by clicking on

- Once the data is entered or if the laboratory has provided the EDD, press

- Navigate the directories to find the EDD file you wish to upload, select the file and press

- Press

- The system will tell you if the upload was successful or if errors were found.  A description of each error found will be given so that you can fix the EDD and re-upload.  If any errors are found, none of the EDD data will upload to the system.

Uploading via the Holding tank

- Hover over  and click on

- To retrieve the most current data from the WebPortal, press

- All results that have been submitted to the WebPortal by all of the laboratories will be obtained and placed in the {Newly Uploaded Results} table.  Any hardcopy reports or EDDs will be in the {Hard Copy Results} table

- Review the data against the associated hardcopy results file.  If the electronic data matches the hardcopy data, place a checkmark in the {samples to Add} field.

- When all results have been reviewed, select “Upload to RAMS” from the drop down

- Press  to upload results.

- If there is something wrong with the results, mark the checkbox for the result(s), choose “Mark as Incorrect” from the drop down and press .  A new window will appear where you must enter a comment explaining what is wrong with the result(s). When all comments are entered, press

- When the lab corrects this problem and resubmits the results it will appear in the {Amended Uploaded Results} table where it can be reviewed again.

- When all of an ARFs results have been uploaded to RAMS, Press to clear out the hardcopy result files from the table.

- Repeat this process routinely so that new results get uploaded to RAMS quickly

Uploading an EDD submitted to the WebPortal

- Laboratories can submit an EDD via the WebPortal using a dummy-nuclide called _EDD-Upload.

- If this nuclide is observed in the holding tank, look for the EDD in the {Hard Copy Results} table.  Open the file and review it for correctness, make sure that the EDD contains all of the requested results for the ARF at a minimum.  If not, mark the _EDD-Upload result as incorrect and indicate that the EDD is incomplete.

- Upload the file according to “Upload a RAMS EDD” section of this job aide.

- If the data is successfully uploaded via the EDD, mark the _EDD-upload nuclide result as incorrect and enter “Successful EDD upload” as the comment so that the laboratory knows the data has been submitted.