## Sheet1
No. | Question | POC | Response
1 | RFP-23614-CC-26” Paragraph 3.1.1 Mandatory Qualification Standards item 4. SUBCONTRACTOR shall have a Nevada State Contractor’s License. Please confirm this requirement as Federal Facilities typically do not require this. | Legal | MSTS is not requiring Nevada state contractor licensure pursuant to NRS 624.700(b) and NRS 624.031, paragraph 9, but contractors should ensure compliance with all applicable, federal, state and local laws and regulations and should consult with an attorney to determine which federal, state, and local laws apply to them.
2 | Please confirm the Base scope of work and all options do not include construction deliverables and any temporary deliverables are only meant to support the Design and Discovery Process. | STR | This is correct for the TO-1 SOW NLV Switchgear Design, it does not include construction or construction deliverables but it does include support of the design as stated on the Statement of Work.
3 | Please provide building A05 scaleable floor plan | Engineering | See attached.
4 | Please provide single line diagram showing all the loads connected to switchgear ‘A-05’. | Engineering | See attached.
5 | Please provide a site plan showing the buildings that will require temporary generators during discovery phase | Engineering | See attached.
6 | If existing equipment concrete pads are in good condition, please confirm it is acceptable to reuse the existing pads. | STR/Procurement | During discovery phase the subcontractor should identify which concrete pads are in poor condition/need repair and submit a cahnge order, if necessary. Yes if concrete pads are in good condition and validated by the CONTRACTOR it is ok to reuse the concrete pads.